FIRST fresh water flake ice machine price list

| Model | Picture (for reference) | parameters | No. | Unit price (EXW) | Remarks |
| --- | --- | --- | --- | --- | --- |
| FST-0.2T |  | Ice output：200kg/24hrs Ice bin capacity：100kg Compressor：Italy Embraco aspera Ice machine size：730*760*600mm Ice bin size：800*760*955mm Installation space：800*760*1555mm G.W.：145kg Standard power supply：1P/220V/50HZ Total Power：1.1KW Refrigerating capacity：1.2KW Refrigerant：R22 Cooling style：Air cooling | 1 | 2,400 | Including ice bin；Standard cooling style |
| FST-0.5T |  | Ice output：500kg/24hrs Ice bin capacity：300kg Compressor：Denmark Daofoss Ice machine size：1310*890*780mm Ice bin size：1320*1180*110mm Installation space：1320*1180*1880mm G.W.：235kg Standard power supply：3P/380V 50HZ Total power：2.62 KW Refrigerating capacity：3 KW Refrigerant：R404A Cooling style：Air cooling | 1 | 3,300 |  |
| FST-1T |  | Ice output：1000kg/24hrs Ice bin capacity：400kg Compressor：Denmark Danfoss Ice machine size：1310*890*880mm Ice bin size：1320*1250*110mm Installation space：1320*1250*1980mm G.W.：270kg Standard power supply：3P/380V 50HZ Total power：4.31 KW Refrigerating capacity：6 KW Refrigerant：R404A Cooling type：Air cooling | 1 | 4,100 |  |
| FST-1.5T |  | Ice output：1500kg/24hrs Ice bin capacity：400kg Compressor：American Copeland Ice machine size：1310*890*980mm Ice bin size：1320*1250*1100mm Installation space：1320*1250*2080mm G.W.：390kg Standard power supply：3P/380V 50HZ Total power：7.08 KW Refrigerating capacity：9 KW Refrigerant：R404A Cooling type：Air cooling | 1 | 6,100 |  |
| FST-2T |  | Ice output：2000kg/24hrs Ice bin capacity：500kg Compressor：American Copeland Ice machine size：1500*1095*1050mm Ice bin size：1500*1380*1300mm Installation space：1500*1380*2350mm G.W.：470kg Standard power supply：3P/380V 50HZ Total power：8.6 KW Refrigerating capacity：12 KW Refrigerant：R404A Cooling type：Air cooling | 1 | 6,900 |  |
| FST-2.5T |  | Ice output：2500kg/24hrs Ice bin capacity：500kg Compressor：American Copeland Ice machine size：1500*1095*1200mm Ice bin size：1500*1380*1300mm Installation space：1500*1380*2500mm G.W.：520kg Standard power supply：3P/380V 50HZ Total power：9.1 KW Refrigerating capacity：15 KW Refrigerant：R404A Cooling type：Air cooling | 1 | 7,700 |  |
| FST-3T |  | Ice output：3000kg/24hrs Compressor：Germany Bitzer Ice machine size：1750*1190*1200mm G.W.：530kg Standard power supply：3P/380V 50HZ Total power：15.11 KW Refrigerating capacity：18 KW Refrigerant：R404A Cooling style：Air cooling | 1 | 10,600 | Ice storage room is optional according to customers’ request with extra price. Standard cooling type:Air cooling |
| FST-5T |  | Ice output：5000kg/24hrs Compressor：Germany Bitzer Ice machine size：1750*1550*1600mm G.W.：765kg Standard power supply：3P/380V 50HZ Total power：23.12 KW Refrigerating capacity：30 KW Refrigerant：R404A Cooling type：Water cooling | 1 | 15,500 | Ice storage room is optional according to customers’ request with extra price. Standard cooling type:water cooling(Equipped with water tower) |
| FST-8T |  | Ice output：8000kg/24hrs Compressor：Germany Bitzer Ice machine size：2530*1830*1680mm G.W.：978kg Standard power supply：3P/380V 50HZ Total power：31.5 KW Refrigerating capacity：52 KW Refrigerant：R404A Cooling type：Air cooling | 1 | 25,600 | Ice storage room is optional according to customers’ request with extra price. Standard cooling type:water cooling(Equipped with water tower) |
| FST-10T |  | Ice output：10000kg/24hrs Compressor：Germany Bitzer(two sets in parallel) Ice machine size：2530*1830*1820mm G.W.：1540kg Standard power supply：3P/380V 50HZ Total power：45.5 KW Refrigerating capacity：65 KW Refrigerant：R404A Cooling type：Air coog | 1 | 31,100 | Ice storage room is optional according to customers’ request with extra price. Standard cooling type:water cooling(Equipped with water tower)；Other brand compressor is available for choice with different price:Taiwan Hanbell/Fusheng screw compressor(more economical）;Germany Blogs piston compressor； |